WESTERN BRANCH WRRF

POTABLE WATER SYSTEM UPGRADES

SCOPE OF WORK

- BACKGROUND/PURPOSE

The background/purpose shall provide the Bidder’s with a general history of the requested need.

Western Branch Water Resource Recovery Facility uses groundwater as its source of potable water. An on-site water well, pumps and pipeline distribute water to the different buildings within the facility. For process related water needs, there is an independent system that uses plant effluent as its source.

The well was drilled in 1966 when the original 5 MGD plant was constructed. At that time, the well provided both potable water and process water for the small plant. The well is approximately 341 feet deep. When the plant was expanded to 30 MGD in the mid-1970s, the potable water pipeline system was dedicated to only supply potable water to the plant including fire hydrants on the east side.

The existing potable water well lies within the flood plain. The piping and components within the below ground well vault are corroded. Water quality from the potable water system is also of concern as recent sampling results tested positive for total coliforms.

- SCOPE OF WORK/SPECIFICATIONS

The Vendor shall provide the following:

Construction of a new well house, water line and connections to the treatment plant buildings. Installation of new electrical duct bank connecting to an existing manhole. In addition, must perform all sitework including establishment of erosion and sediment controls, site grading, and pavement restoration.

- ROLES AND RESPONSIBLITIES (IF APPLICABLE)

Identify the roles and responsibilities of key personnel for both the Contractor and WSSC.

  - Contractor

Project Manager - shall be is responsible for overseeing construction projects submittals review, some design management, manage the coordination between contractors and clients, ensuring that all parties work together efficiently, plan meetings and documentation. Other roles include scheduling, quality control, as well as compliance with safety regulations, risk management, addressing any issues or delays that arise, support negotiations between client and contractor, ensure effective communication throughout the project. Strong leadership, problem-solving, and organizational skills are essential.

  - WSSC

Project Manager – will serve as a representative of WSSC.  The Project Manager will oversee design and construction of the projects from concept to completion, ensuring that creative visions align with business goals, a team of designers, architects, or other specialists, while coordinating with designers and contractors to clarify requirements and feedback. Other roles include budgeting, scheduling, and quality control, ensuring projects stay on track and meet deadlines. In addition, the Project Manager will solve problems that arise during the project lifecycle, act as a liaison between designer/contractor and technical teams and ensure the final design/construction meets project requirements.

- DELIVERABLES (IF APPLICABLE)

Submittals

Daily reports,

Compaction and ECS testing reports

As-builts

- MILESTONES (IF APPLICABLE)

It is estimated that the construction will take 2 years.

- DELIVERY/SERVICE LOCATION (IF APPLICABLE)

6600 Crain Highway, Upper Marlboro, MD 20772-4136.

- DELIVERY PERIOD

During normal construction hours 7am -4pm

- TASK ORDER PROCEDURE/WORK ORDER/RELEASE PROCESS (IF APPLICABLE)

N/A

- MAINTENANCE/SUPPORT SERVICES (IF APPLICABLE)

N/A

- CONTRACT TERM

The base term of the Contract shall be for a period of two years..

- REQUIREMENTS CONTRACT (IF APPLICABLE)

Bidders acknowledge that the Contract that will be entered into because of this Solicitation will be a Requirements Contract. The Commission will have no obligation to the Contractor if no material is required. The Contractor understands and agrees that the Commission is under no obligation to the Contractor to buy any amount because of issuing this Contract. The quantities stated herein are given are as a general guide for bidding and are not guaranteed amounts, but do represent the best estimate of the Commission, based on previous usage and projected needs.